## Pricing Document
| Client: | RRR Group Limited | [6 empty] | Supplier used: | A Plus (QT51518)
| Project Reference: | Riverside House - AOV Smoke Vents to Stairwells
| Site Address: | Riverside House, 44 Wedgewood Street, Fairford Leys, Aylesbury, Bucks HP19 7HL |  |  |  | SUPPLY ONLY quote made supply-and-fit. 2no AOV smoke vents, one per stairwell, per K1653-11 / K1653-12. Frames/glass/surcharge are A Plus QT51518 27/07/2026 net, split per unit. Valid to 26/08/2026. Free area quoted GEOMETRIC 1.30 m2 per vent - aerodynamic figure not stated (RFI-1). AOV control panel, wiring, fire-brigade override and commissioning EXCLUDED - not in the A Plus scope.
| Date: | 27/07/2026
| Description |  | Size | Qty | Unit | Unit Rate | Total
PRODUCT CODES | SMA Smart Wall | [6 empty] | Frames | Glass | Additional | CW | CW LABOUR | CW SQM
MAW | AOV.01 - Sapa DualFrame 75Si bottom-hung automatic opening smoke vent to Stairwell 1 (top storey, second floor - drg K1653-12). Style FF, white, open out, 850mm stroke single chain actuator 9006 satin, 155mm Technal subcill, 4-20-4 Clr Tough S Coat 1.2 / 20mm black warm edge. Geometric free area 1.30 m2. |  | 1130 x 1530 | 1 | nr |  |  | 2331.075 | 85.655 | 5.88
MAW | AOV.02 - Sapa DualFrame 75Si bottom-hung automatic opening smoke vent to Stairwell 2 (top storey, first floor - drg K1653-11). Style FF, white, open out, 850mm stroke single chain actuator 9006 satin, 155mm Technal subcill, 4-20-4 Clr Tough S Coat 1.2 / 20mm black warm edge. Geometric free area 1.30 m2. |  | 1130 x 1530 | 1 | nr |  |  | 2331.075 | 85.655 | 5.88
INSTALLATION
TOTAL*
OPTIONAL
|  |  |  | EXTERNAL MASTIC |  |  | 53.2
|  |  |  | EDPM |  |  | 0
* Total value excluding VAT.
** This pricing document should be read with Fenster Glazing & Locks Ltd's Standard Terms and Conditions (issue 31.05.2026), a copy of which accompanies this document.
EXCLUSIONS - the following are NOT included in the price above
- Design responsibility - design calculations, structural calculations and engineer approvals, including any wind loading check and the structural design of fixings, unless specifically included within our scope
- Structural alterations - forming, enlarging or making good any structural opening, to be completed by the main contractor
- AOV control system - smoke control panel, mains and battery-backed supply, cabling, containment, fire-brigade override at ground floor access level, and commissioning
- Testing - on or off site testing of the completed smoke ventilation system
- Anti-fall protection to Part K, where the vent cill sits below 1100mm from finished floor level, and any preventative measures for trap hazard below 2.5m
- Access and lifting equipment - scaffold, MEWPs, towers, forklift and the like
- Site storage - materials will be delivered to site
- Site welfare - welfare facilities, power, water, lighting
- Waste removal, internal finishing, fire stopping and final clean
- Traffic management - road closures, street licences, parking suspensions
- Dimensions provided by others are assumed to be accurate. Any additional costs arising from incorrect dimensions will be treated as a variation and charged accordingly
- The free area stated is GEOMETRIC. No aerodynamic figure has been provided by the manufacturer and none is warranted by this quotation