## Enquiry
Redditch Library - request for quotation, windows and doors
Project | Redditch Library, 15 Market Place, Redditch, B98 8AR - external window and door replacement
Quantity | 43 items across 41 references, 136.54 m2 total
Windows | Polyester powder coated THERMALLY BROKEN aluminium casement. The tender names Joedan's EL75mm Squareline as the minimum standard and expressly permits an alternative; please quote your nearest equivalent and state the system.
Doors | Polyester powder coated commercial aluminium doorsets, refs 32.2, 34.2, 37, 39 (single) and 41 (double). The tender names AC100 Commercial non-thermal as the minimum standard.
PLEASE NOTE - refs 32 and 34 | Each is ONE coupled assembly, window frame joined directly to a door frame. Please quote each as a single coupled unit IN ONE SYSTEM AND ONE FRAME DEPTH throughout. Do not quote the window in a 75mm thermally broken system and the door in a 100mm non-thermal one - they cannot be joined.
U-values | Windows 1.4 W/m2K area-weighted across the package. Doors 3.0 W/m2K area-weighted. Infill panels 1.2 W/m2K. Please state the whole-window Uw you are quoting, not a centre-pane Ug.
Glass | Argon filled double glazed units, warm edge spacer. INNER 4mm clear soft coat low-E toughened. OUTER 4mm BRONZE ANTI-SUN toughened. Safety glass to all Part K critical locations.
Panels | Solid phenolic core, faced both sides with 2.0mm polyester powder coated aluminium, MATT finish, 1.2 W/m2K.
Window hardware | Shootbolt espagnolette locking. Securistyle Defender friction hinges. Separate concealed restrictor limiting initial opening to 100mm where required. TRICKLE VENTILATORS TO ALL CASEMENTS - the specification says these must be included.
Door hardware - refs 32.2, 34.2, 37 and 41 ONLY | Anti-finger-trap stiles; 100mm bottom rail; 100mm midrail; Axim 8800 concealed non-hold-open transom closer; PR7100 exit panic device without external access and no external hardware; mill finished low threshold. Ref 41 is a double door and additionally needs flush bolts to head and threshold of the slave leaf.
Door hardware - ref 39 | NOT SPECIFIED in the tender. Please quote as a plain single commercial doorset with standard ironmongery and no panic set, and price any panic set separately so it can be added if the CA confirms it.
Finish | Single standard RAL, the same colour internally and externally. The RAL is not yet stated by the client - please quote on a standard RAL and tell us which RALs are standard and what a non-standard or metallic colour would add.
Ancillaries | 45mm white cellular uPVC cloaking profile to the internal perimeter where required.
Supply basis | Supply only, factory glazed, delivered to site. Installation is ours. Please state your delivery terms and any carriage threshold ON THE FACE OF THE QUOTATION.
Validity | PLEASE STATE HOW LONG THE PRICE IS FIRM. The main contract tender must stay open 10 weeks from submission and the preliminaries say not less than 3 months, so a 30-day quotation leaves us exposed. If you can hold longer, please say so and for how long.
Warranty | Please state the guarantee period, what it covers, when it starts, and anything capped by cycles rather than time.
SIZES ARE INDICATIVE | Taken from the client's tender schedule. The specification requires a measured survey of every opening before ordering and states that the client's dimensions must not be relied on. Quote on these for tender purposes; sizes will be confirmed by survey.
RAKED UNITS - refs 16, 17 and 18 | These are drawn on the elevations as PARALLELOGRAMS on a raking stair wall - sloping head and sloping cill. The 2250 x 2304 below is a bounding box, not the frame. Please price them as raked units and tell us what the rake adds over a rectangle of the same area.
Ref 38 | The schedule says 6 fixed lights; the elevation drawing shows a 5-wide by 3-high grid of 15 panes. Please quote the 15-pane arrangement and note the difference.
Refs 29, 30 and 31 | The tender gives NO configuration for these three. Please quote as fixed lights.

## Schedule
Ref | Elev | Width mm | Height mm | Area m2 | Type | Configuration | Your rate GBP
1 | A | 1800 | 2000 | 3.6 | window | 1 fixed light + 1 fixed panel
2 | A | 1800 | 2000 | 3.6 | window | 1 fixed light + 1 fixed panel
3 | A | 2650 | 1800 | 4.77 | window | 2 fixed lights + 2 fixed panels
4 | A | 2650 | 1800 | 4.77 | window | 2 fixed lights + 2 fixed panels
5 | A | 2650 | 1800 | 4.77 | window | 2 fixed lights + 2 fixed panels
6 | A | 2650 | 1800 | 4.77 | window | 2 fixed lights + 2 fixed panels
7 | A | 2650 | 1800 | 4.77 | window | 2 fixed lights + 2 fixed panels
8 | A | 2650 | 1800 | 4.77 | window | 2 fixed lights + 2 fixed panels
9 | A | 2248 | 1600 | 3.597 | window | 2 top-hung opening lights
10 | A | 2248 | 1600 | 3.597 | window | 2 top-hung opening lights
11 | A | 2248 | 1600 | 3.597 | window | 2 top-hung opening lights
12 | A | 2248 | 1600 | 3.597 | window | 2 top-hung opening lights
13 | A | 2248 | 1600 | 3.597 | window | 2 top-hung opening lights
14 | A | 2248 | 1600 | 3.597 | window | 2 top-hung opening lights
15 | A | 900 | 1600 | 1.44 | window | 1 top-hung opening light
16 | A | 2250 | 2304 | 5.184 | window | 2 fixed lights + 2 fixed panels
17 | A | 2250 | 2304 | 5.184 | window | 2 fixed lights + 2 fixed panels
18 | A | 2250 | 2304 | 5.184 | window | 2 fixed lights + 2 fixed panels
19 | A | 17000 | 900 | 15.3 | window | 20 fixed lights
20 | D | 7000 | 1100 | 7.7 | window | 7 fixed lights + 1 fixed panel
21 | D | 1200 | 1200 | 1.44 | window | 1 top-hung + 1 fixed light
22 | C | 1500 | 1000 | 1.5 | window | 1 fixed light
23 | C | 1500 | 1000 | 1.5 | window | 1 fixed light
24 | C | 900 | 525 | 0.472 | window | 1 top-hung opening light
25 | C | 900 | 525 | 0.472 | window | 1 top-hung opening light
26 | C | 900 | 525 | 0.472 | window | 1 top-hung opening light
27 | C | 900 | 525 | 0.472 | window | 1 top-hung opening light
28 | C | 900 | 525 | 0.472 | window | 1 top-hung opening light
29 | C | 900 | 300 | 0.27 | window | NOT STATED
30 | C | 900 | 300 | 0.27 | window | NOT STATED
31 | C | 900 | 300 | 0.27 | window | NOT STATED
32.1 | C | 1800 | 1600 | 2.88 | window | 1 top-hung + 1 fixed light + 1 fixed panel
32.2 | C | 1170 | 2100 | 2.457 | door | single door
33 | C | 1800 | 1200 | 2.16 | window | 1 top-hung + 1 fixed light
34.1 | C | 2400 | 1600 | 3.84 | window | 1 top-hung + 2 fixed lights + 1 fixed panel
34.2 | C | 900 | 2100 | 1.89 | door | single door
35 | B | 1800 | 1200 | 2.16 | window | 1 top-hung + 1 fixed light
36 | B | 1800 | 1200 | 2.16 | window | 1 top-hung + 1 fixed light
37 | B | 1200 | 2100 | 2.52 | door | single door
38 | C | 2700 | 1700 | 4.59 | window | 6 fixed lights
39 | C | 1200 | 2100 | 2.52 | door | single door
40 | C | 1200 | 1000 | 1.2 | window | 2 fixed lights
41 | B | 1500 | 2100 | 3.15 | door | double door
TOTAL |  |  |  | 136.53 | 43 items